## Environmental
Appendix B: Response Spreadsheet - Environmental
Vendor Name
Environmental (5.9) | RFP Section # | Response
Floor Loading (5.9.1)
Specify the weight of a fully loaded compute rack [lbs/NA] | 5.9.1.1
Power (5.9.2)
Specify the maximum power for compute racks [kVA/NA] | 5.9.2.1
Specify the average power for compute racks [kVA/NA] | 5.9.2.2
Specify the power connector type for compute racks [ex L630P] | 5.9.2.3
Specify the number of power plugs/rack for compute racks | 5.9.2.4
Energy Efficiency (5.9.3)
Specify energy efficience features | 5.9.3.1
Footprint (5.9.4)
Specify the total number of racks in Compute Solution | 5.9.4.1
Specify the total footprint of all Compute racks | 5.9.4.2
Specify the rack height for all racks in inches and number of rack units | 5.9.4.3
Density (5.9.5)
Specify the density of the compute solution cores per rack unit (RU). | 5.9.5.1
Cooling (5.9.6)
Are rear door heat exchangers included [Yes/No] | 5.9.6.1
Specify if heat exchanger is passive or active (Passive/Active) | 5.9.6.1
Is the proposed cooling solution direct liquid cooling [Yes/No] | 5.9.6.1
If the proposed cooling solution is direct liquid cooling, is a CDU included in the proposal | 5.9.6.2
Is the proposed cooling capable on connecting to University chilled water? [Yes/No] | 5.9.6.3
Specify the fitting types for the chilled water hoses [Parker P/N BH6-61] | 5.9.6.3
Specify the number of chilled water hoses per rack | 5.9.6.3
Specify the length of the chilled water hoses [xft/NA] | 5.9.6.3
Do the rear door heat exchangers include condensate hoses [Yes/No] | 5.9.6.4
Specify the fitting types for the condensate hoses [Parker P/N W68PL-8-8] | 5.9.6.4
Specify the length of the condensate hoses [xft/NA] | 5.9.6.4
Do all components have front to back airflow [Yes/No] | 5.9.6.5
Delivery Path (5.9.7)
Specify that the proposed solution will fit within the delivery path dimensions [Yes/No] | 5.9.7

## Compute
Appendix B: Response Spreadsheet - Compute
Vendor Name
Compute Specification (5.10) | RFP Section # | Response
Are all the components in this section new? [Yes/No] | 5.10
Pricing (5.10.1)
Complete the pertinent sections of the Pricing Spreadsheet
Operating System (5.10.2.1)
Will the compute nodes support running Rocky Linux? | 5.10.2.1
Specify Operating system and version proposed. | 5.10.2.1
Processor Specifications (5.10.2.2)
Processor Manufacturer | 5.10.2.2.2
Proposed system must populate at least one DIMM on each memory channel available from their x96 CPUs with DIMMS no less than 32 GB | 5.10.2.2.3
Processor Model # | 5.10.2.2.4.1
Processor Base Frequency [GHz] | 5.10.2.2.4.2
Processor Cache [MB] | 5.10.2.2.4.3
Processor Instruction Set [64 bit] | 5.10.2.2.4.4
# of Cores | 5.10.2.2.4.5
Processor RPeak [GFLOPS] | 5.10.2.2.4.6
Processor TDP [W] | 5.10.2.2.4.7
Compute Nodes (5.10.3.3)
Are all processors binary compatible [Yes/No] | 5.10.2.3.1
Total physical cores proposed | 5.10.2.3.2
Define the scalable unit for a standard node for expansion (5.10.2.3.4)
System Model Number | 5.10.2.3.4.1
Memory [GB] | 5.10.2.3.4.2
Local Disk [TB] | 5.10.2.3.4.3
IPMI/Redfish Support [Yes/No] | 5.10.2.3.4.4
Network interface cards (model) | 5.10.2.3.4.5
Rack enclosure required (Yes/No) | 5.10.2.3.4.6
Specify the weight of an enclosure if required | 5.10.2.3.4.7
Specify the number of standard nodes in a scalable unit | 5.10.2.3.4.8
Specify the number of rack units required for the scalable node | 5.10.2.3.4.9
Specify the weight of a node | 5.10.2.3.4.10
Define the scalable unit for a Large Memory Workload (5.10.2.3.5)
System Model Number | 5.10.2.3.5.1
Memory [GB] | 5.10.2.3.5.2
Local Disk [TB] | 5.10.2.3.5.3
Network interface cards (model) | 5.10.2.3.5.4
Specify the number of rack units required for the scalable node | 5.10.2.3.5.5
Specify the number of standard nodes in a scalable unit | 5.10.2.3.5.6
Specify the weight of a node | 5.10.2.3.5.7
Define the scalable unit for a NVIDIA H100 GPU node (5.10.2.3.6)
System Model Number | 5.10.2.3.6.1
Memory [GB] | 5.10.2.3.6.2
Local Disk [TB] | 5.10.2.3.6.3
Network interface cards (model) | 5.10.2.3.6.4
Rack enclosure required (Yes/No) | 5.10.2.3.6.5
Specify the weigth of an enclosure if required | 5.10.2.3.6.6
Specify the number of standard nodes in a scalable unit | 5.10.2.3.6.7
Specify the number of rack units required for the scalable node | 5.10.2.3.6.8
Specify the weight of a node | 5.10.2.3.6.9
Define the scalable unit for a NVIDIA A100 GPU node (5.10.2.3.7)
System Model Number | 5.10.2.3.7.1
Memory [GB] | 5.10.2.3.7.2
Local Disk [TB] | 5.10.2.3.7.3
Network interface cards (model) | 5.10.2.3.7.4
Rack enclosure required (Yes/No) | 5.10.2.3.7.5
Specify the weight of an enclosure if required | 5.10.2.3.7.6
Specify the number of standard nodes in a scalable unit | 5.10.2.3.7.7
Specify the number of rack units required for the scalable node | 5.10.2.3.7.8
Specify the weight of a node | 5.10.2.3.7.9
Network Interfaces (5.10.2.4)
Capable of running 25 Gbps Ethernet protocol (yes/no) | 5.10.2.4.1
Minimum of 2 ports per interface card | 5.10.2.4.2
25 Gbps ethernet port support for RoCE (yes/no) | 5.10.2.4.3
Included a 1Gb capable RJ-45 interface that supports PXE (yes/no) | 5.10.2.4.4
Included a dedicated HDR100 Infiniband HCA [Yes/No] | 5.10.2.4.5
Local Node Storage (5.10.2.5)
Size of local storage on each node (GB) | 5.10.2.5
Rack Infrastructure (5.10.2.6)
Do all racks meet spec in section 5.9 [Yes/No] | 5.10.2.6.1
Is all necessary rack infrastructure included to house and power all compute nodes, 1Gb, 25Gb Ethernet switching and HDR switching [Yes/No] | 5.10.2.6.2
Do all racks have 6U of unused space [Yes/No] | 5.10.2.6.3
Is a comprehensive rack diagram included [Yes/No] | 5.10.2.6.5
Weight of a rack to include all rack infrastructure minus nodes | 5.10.2.6.6
Compute System Benchmarks (5.10.3)
Are HPL benchmarks for a single standard node provided [Yes/No] | 5.10.3.1
Are MLPerf - Inference: Datacenter benchmarks for a single Nvidia H100 GPU node provided [Yes/No] | 5.10.3.2
Are HPCG benchmarks for a single Nvidia A100 GPU node provided [Yes/No] | 5.10.3.3
Are all benchmarks and associated files/programs provided [Yes/No] | 5.10.3.4
Compute System Installation (5.10.5)
Includes all installation costs (unboxing, assembly, testing & cleanup) [Yes/No] | 5.10.5.1
Includes all implementation costs (cabling, labeling, integration & configuration) [Yes/No] | 5.10.5.2
Compute System technical Support, Maintenance, Documentation & Training (5.10.6)
Technical Support (5.10.6.1)
Is a 5 year term support contract provided [Yes/No] | 5.10.6.1
Specify the URL for the technical support site | 5.10.6.1
Specify the URL for the hardware maintenance site | 5.10.6.1
Web-based service request system [Yes/No] | 5.10.6.1.1
Is Next-Business-Day parts replacement included [Yes/No] | 5.10.6.1.2
Is 24x7 tool free phone & online support included [Yes/No] | 5.10.6.1.3
Is knowledge base, FAQs, known issues access included [Yes/No] | 5.10.6.1.4
Is documentation for hardware & software included [Yes/No] | 5.10.6.1.5
Are tutorials, whitepapers, security bulletins and patches included [Yes/No] | 5.10.6.1.5
Specify the URL for the online Documentation site | 5.10.6.1.5
Is contract language for the support and maintenance contract included [Yes/No] | 5.10.6.3
Is user software porting and optimization training available [Yes/No] | 5.10.6.4.1
Is system administration training available [Yes/No] | 5.10.6.4.2
Specify the URL for the online Training site | 5.10.6.4.3
References (5.10.8)
Are 3 appropriate reference sites provided [Yes/No] | 5.10.7.1
Complete the Reference Spreadsheet

## Compute References
Appendix B: Response Spreadsheet - Compute Reference
Vendor Name
Reference 1
Item Description | RFP Section # | Responses
Reference doesn't require security clearance (Yes or No) | 5.10.7.2
Organization Name | 5.10.7.3.1
Reference Name | 5.10.7.3.2
Title | 5.10.7.3.3
Telephone number | 5.10.7.3.4
Email address | 5.10.7.3.5
Basic description of the system installed at reference's site | 5.10.7.4
Reference 2
Item Description | RFP Section # | Responses
Reference doesn't require security clearance (Yes or No) | 5.10.7.2
Organization Name | 5.10.7.3.1
Reference Name | 5.10.7.3.2
Title | 5.10.7.3.3
Telephone number | 5.10.7.3.4
Email address | 5.10.7.3.5
Basic description of the system installed at reference's site | 5.10.7.4
Reference 3
Item Description | RFP Section # | Responses
Reference doesn't require security clearance (Yes or No) | 5.10.7.2
Organization Name | 5.10.7.3.1
Reference Name | 5.10.7.3.2
Title | 5.10.7.3.3
Telephone number | 5.10.7.3.4
Email address | 5.10.7.3.5
Basic description of the system installed at reference's site | 5.10.7.4

## Compute Benchmarks
Appendix B: Response Spreadsheet - Compute Benchmark
Vendor Name
HPL Benchmark | Proposed |  | Acceptance Testing
| Rpeak | Rmax | Rpeak | Rmax
Standard node
HPCG Benchmark | Proposed | Acceptance Testing
| GFLOPS | GFLOPS
Scientific GPU node
MLPerf - Inference Benchmark | System | Nodes | Processor | Number of Processors | Accelerator | Number of Accelerators | Software | Results
[8 empty] | Task | Image Classification |  | Object Detection |  | Medical Imaging |  | Speech-to-Text |  | Natural Language Processing |  | Recommendation
[8 empty] | Data | ImageNet |  | OpenImages (800x800) |  | KiTS19 |  | LibriSpeech |  | SQuAD v1.1 |  | 1TB Click Logs
[8 empty] | Model | ResNet |  | Retinanet |  | 3D-UNet |  | RNN-T |  | BERT |  | DLRM
[8 empty] | Accuracy (% FP32 ref) | 99 |  | 99 |  | 99 | 99.9 | 99 |  | 99 | 99.9 | 99 | 99.9
[8 empty] | Scenario | Server | Offline | Server | Offline | Server | Offline | Server | Offline | Server | Offline | Server | Offline
[8 empty] | Units | queries/s | samples/s | queries/s | samples/s | queries/s | samples/s | queries/s | samples/s | queries/s | samples/s | queries/s | samples/s
AI/ML node